## CONFIG
Power Flow Methods | Run?(Y/N)
Gauss Seidel Power Flow (GS) | Y
Newton-Raphson Power Flow (NR) | N
Fast-Decoupled (FD) | N
DC Power Flow (DC) | N
Settings | Values
Convergence error | 1e-05
Max. Iterations | 500
Data | Name
Input study data | data_io.xlsx
Output study data | case_1.xlsx

## BUS
STATUS | ID | Bus i | Bus type | ¦V¦ (pu) | <V (degrees) | Pgen (pu) | Qgen (pu) | Po load (pu) | Qo load (pu) | %Z | %I | %P
ON | 1 | 1 | SL | 1.05 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0%
ON | 2 | 2 | PQ | 0 |  | 0 | 0 | 4 | 2.5 | 0% | 0% | 0%
ON | 3 | 3 | PV | 1.04 |  | 2 | 0 | 0 | 0 | 0% | 0% | 0%
OFF

## LINES
STATUS | ID | Bus i | Bus j | R (pu) | X (p.u.) | Bshunt (p.u.)
ON | Line 1 | 1 | 2 | 0.02 | 0.04 | 0
ON | Line 2 | 1 | 3 | 0.01 | 0.03 | 0
ON | Line 3 | 2 | 3 | 0.0125 | 0.025 | 0
OFF | Line 4 | 2 | 3 | 0.5 | 0.4 | 0

## TRX
STATUS | ID | Bus i | Bus j | Xcc (pu) | TAP
OFF | TRX 1 | 1 | 4 | 0.2 | 1
OFF | TRX 2 | 1 | 4 | 0.2 | 1
OFF | TRX 3
OFF | TRX 4

## SHUNT_ELEMENTS
STATUS | ID | Bus i | R (pu) | X (pu)
OFF | SHUNT 1 | 1 | 1 | 0.2
OFF | SHUNT 2 | 2 | 0.02 | 0.15
OFF | SHUNT 3 | 3 | 0.03 | 0.1

## RESULTS GS
ITERATIONS: | 53 | ERROR: | 0.0001
Bus i | ¦V¦ (pu) | <V (degree) | Pi (pu) | Qi (pu) | Pgen (pu) | Qgen (pu) | Pload (pu) | Qload (pu)
1 | 1 | 0 | 2 | 5 | 2 | 2 | 2 | 2

## POWER FLOW GS
Ident. | Bus i | Bus j | Pij (pu) | Qij (pu) | Pji (pu) | Qji (pu) | Ploss (pu) | Qloss (pu)
Line 1 | 1 | 2
TRX 1 | 1 | 4

## RESULTS NR
ITERATIONS: | 53 | ERROR: | 0.0001
Bus i | ¦V¦ (pu) | <V (degree) | Pi (pu) | Qi (pu) | Pgen (pu) | Qgen (pu) | Pload (pu) | Qload (pu)
1 | 1 | 0 | 2 | 5 | 2 | 2 | 2 | 2

## POWER FLOW NR
Ident. | Bus i | Bus j | Pij (pu) | Qij (pu) | Pji (pu) | Qji (pu) | Ploss (pu) | Qloss (pu)
Line 1 | 1 | 2
TRX 1 | 1 | 4

## RESULTS FD
ITERATIONS: | 53 | ERROR: | 0.0001
Bus i | ¦V¦ (pu) | <V (degree) | Pi (pu) | Qi (pu) | Pgen (pu) | Qgen (pu) | Pload (pu) | Qload (pu)
1 | 1 | 0 | 2 | 5 | 2 | 2 | 2 | 2

## POWER FLOW FD
Indent. | Bus i | Bus j | Pij (pu) | Qij (pu) | Pji (pu) | Qji (pu) | Ploss (pu) | Qloss (pu)
Line 1 | 1 | 2
TRX 1 | 1 | 4

## RESULTS DC
Bus i | <V (degree)
1 | 0